## AV-new
TEST REPORT
CUSTOMER NAME |  |  | Om Sai
ADDRESS |  |  | HARIDWAR SEDIKUL
NATURE OF TEST |  |  | AIR VELOCITY
TEST TAKEN |  |  | 06/03/2022
AHU NO. |  |  | ahu number 56
LOCATION |  |  | DEHRADHUN
DONE DATE |  |  | 2024/09/11 00:00:00
DUE DATE |  |  | 2024/09/11 00:00:00
REPORT NO. |  |  | PPE099AV01A
STANDARD INSTRUMENT USED FOR TEST:
INSTRUMENT NAME |  | MAKE/MODEL |  |  |  | SR.NO. |  |  |  | VALIDITY
VANE TYPE ANEMOETER |  | AVM-10 |  |  |  | 200616197 |  |  |  | 2024/09/11 00:00:00
OBSERVATIONS:
Room Name & ID No. | Inlet No. |  | V1 | V2 | V3 | V4 | V5 | Avg. Vel. | Inlet Size Ft2 | CFM | Room Volume (Ft3) | ACPH
ROOM NAME 02 | 50 |  | 50 | 50 | 50 | 50 | 50 | 50 | 4 | 200 | 4405 | 2
TOTAL CFM | [9 empty] | 200
Acceptance criteria :Not less Than 0.75 ACPH | [6 empty] | GRADE : B
TEST CARRIED OUT BY |  |  |  |  | VERIFIED BY
PIN POINT ENGINEER |  |  |  |  | Om Sai